BD KiestraTM InoqulA+

Critical and/or Security Patches: January – March 2021

Microsoft® & Third-Party Patches

BD has identified patches from Microsoft® that have been identified as critical or security related for January – March 2021. These patches were not found to adversely affect BD products and will be applied according to customers’ service agreement.

Customers that maintain patches independent of BD automated delivery should ensure the validated patches are installed on their BD systems as the acting responsible entity in order to maintain the correct security posture of the system(s).

| Patch Name | Patch Description | Patch ID | Month |
| --- | --- | --- | --- |
| Security Update for Microsoft Windows 10 (1809) for X64-based Systems | Security improvements and fixes published by Microsoft for Windows 10 (1809). | KB4598230 | January |
|  |  | KB4601345 | February |
|  |  | KB5000822 | March |
| Service Stack Update (SSU) for Microsoft Windows 10 (1809) for X64-based Systems | Servicing stack updates fixes and improves the reliability of the update process to mitigate potential issues while installing. | KB4598480 | January |
|  |  | KB4601393 | February |
|  |  | KB5000859 | March |